## Slide 1: Confidence intervals and Bootstrap
Miodrag Bolic

## Slide 2: Outline
Some mathematical methods for uncertainty evaluation
  Confidence intervals
  Resampling:
    Bootstrap
    Monte Carlo

## Slide 3: Confidence Intervals
point estimate  (measure of how confident we want to be)  (standard error)
The value of the statistic in the data sample (eg., mean, median, etc.)
From a Z table or a T table, depending on the sampling distribution of the statistic.
Standard error of the statistic.

## Slide 4: Confidence interval for the mean of Normal distribution with σ known
Suppose that X=(x1,…,xn) are samples from Normal distribution ~ N(µ, ).
Empirical mean and
To determine information about the unknown mean, we consider the sample mean . 95% of the area of a normal distribution lies within two standard deviations of the mean

## Slide 5: Confidence interval
The goal is to determine functions () and () that bound the location () < < of q based on realizations x=[,…. of a random sample X=[,…. .
The random interval [(X), (X)] is termed as interval estimator.
The interval estimator in combination with a confidence coefficient is commonly called a confidence interval.
The confidence coefficient (1- )x100% can be interpreted as the frequency of times, in repeated sampling, that the interval will contain the target parameter .
Notes: Ralph C. Smith, “Uncertainty Quantization, Theory, Problems and Applications,” SIAM, 2014.

## Slide 6: Confidence intervals interpretation
95% confidence interval means:
95% of similarly constructed confidence intervals will contain the true mean
The probability that the true mean lies between () and () is 95%

## Slide 7: Expended Uncertainty
Standard Uncertainty
  Systematic (bias) bx
  Random (standard deviation): sx
Uncertainty can be defined as
  +
Expended uncertainty is defined as

## Slide 8: Definitions
Standard uncertainty
  uncertainty of the result of a single type of measurement includes Type A and/or Type B uncertainties
Expanded uncertainty
  the standard uncertainty multiplied by a coverage factor
Standard error SE
  Standard deviation of the sample statistics

## Slide 9: Example – Spike counts from a motor cortical neuron
Button pressing task
The number of spikes from a single neuron is measured in the period of 600 ms
Mean: 13.6 spike per 600ms or 22.7 spikes per second
Confidence intervals?
Notes: Figure 3.2 displays a histogram of 60 spike
counts from a motor cortical neuron during a reaching task. The mean among these 60
counts is 13.6 spikes. (The time interval was 600 ms, so this neuron’smean firing rate
was 22 spikes per second.) Imagine drawing one spike count at random from among
the 60, and doing this repeatedly. The histogram gives a sense of the variability we
would see in these repeated random draws.

## Slide 10: Example – Spike counts from a motor cortical neuron, cont.
s=7.17 spikes per second.
This gives a standard error of
Reporting results:
Standard error: The firing rate of this neuron, under the particular experimental condition, to be 22.72 (.93) spikes per second.
Uncertainty: An approximate 95% confidence interval for the firing rate is then (20.8, 24.6) spikes per second.

## Slide 11: Confidence interval for the mean of Normal distribution with σ unknown
Empirical mean and
Empirical standard deviation
Variable has a Student's t-distribution with n − 1
degrees of freedom
We denote by to reflect the n-1 degrees of freedom and probability 1-.
the (1- x 100% confidence
Notes: If X is sampled from the Normal distribution than
has a standard normal distribution (i.e. normal with expected value 0 and variance 1), and the random variable
{\displaystyle {\frac {{\bar {X}}-\mu }{S/{\sqrt {n}}}}}(where σ has been substituted for S) has a Student's t-distribution with n − 1 degrees of freedom.

## Slide 12: Confidence interval for the mean of Normal distribution with σ unknown, cont.
A 95% confidence interval for μ:

## Slide 13: Other statistical intervals
Prediction intervals
  An intervals that would contain a future randomly selected observation from the distribution, with a specific degree of confidence.
  Example: predict sample mean of m future samples
Statistical tolerance limits create an interval that bounds a specified percentage of the population at a given level of confidence.
  (such as 99% of the population with 95% confidence)
  These intervals are often used to demonstrate compliance with a set of requirements or specification limits.
Notes: Confidence intervals – analyse the already collected data
Prediction intervals is estimating future estimate (for example, based on consumption of gas from a sample of 5 cars, obtain an interval that contains, with a degree of confidence, the gas consumption of a new car that will operate under specified driving conditions.)
Prediction intervals are useful to predict the performance of one or several of future units. If we would like to estimate performance of large number of units based on a small sample, then instead of computing the confidence interval that contains all of a specified number of units, it is sufficient to construct an interval that contains a large proportion of such units.

## Slide 14: Bayesian inference method
Model for data
Data
Prior information
Likelihood
Posterior distribution
Bayes theorem
Inference
By knowing posterior distribution all kinds of estimates can be computed:
Notes: From “Statistical intervals: Guide for practitioners”

## Slide 15: Credible intervals
Interpretation: the probability that the true mean is contained within the given interval is 95%.
95% probability the parameter is here
2.5%
Posterior Distribution
2.5%

## Slide 16: Bootstrap
Bootstrap (a resampling procedure) is a Monte Carlo method of simulating `datasets' from an observed/given data, without any assumption on the underlying population.
Resampling the original data preserves (adaptively) whatever distributions are truly present.
Bootstrap helps evaluate statistical properties using data rather than an assumed Gaussian or other distributions.
Notes: From presentation: Model Fitting, Bootstrap, & Model Selection by G. Jogesh Babu

## Slide 18
Notes: A bootstrap sample is a random sample taken with replacement from the original sample, of the same size as the original sample A bootstrap statistic is the statistic computed on a bootstrap sample A bootstrap distribution is the distribution of many bootstrap statistics

## Slide 20: Bootstrap procedure
- a sample from a distribution F
- a simple random sample from the data
is an estimator of
is based on
Examples:
behaves like
Notes: From presentation: Model Fitting, Bootstrap, & Model Selection by G. Jogesh Babu

## Slide 21: Non-parametric and parametric bootstrap
Simple random sampling from data is equivalent to drawing a set of i.i.d. random variables from the empirical distribution. This is Nonparametric Bootstrap
Parametric Bootstrap if are i.i.d. r.v. from an estimator of F based on data .
Example of Parametric Bootstrap:
i.i.d.
i.i.d. ;
is good estimator of the distribution
Notes: From presentation: Model Fitting, Bootstrap, & Model Selection by G. Jogesh Babu

## Slide 22: Bootstrap percentile confidence interval
In practice
Randomly generate bootstrap samples
Compute for each bootstrap sample
Arrange them in increasing order
, ,
95% Confidence Interval for the parameter is
Notes: From presentation: Model Fitting, Bootstrap, & Model Selection by G. Jogesh Babu

## Slide 23: Sample median bias

## Slide 25: Hypothesis testing with bootstrap
Stroke data
Let p1 be the probability of a success (to get a stroke) under the treatment and p2 the probability of a success in the control group.
We are interested in = p1/p2 , especially in testing H0 : = 1.
The bootstrap solution: derive a bootstrap condence interval and to check whether 1 is in the interval.
Bootstrap sampling is done by sampling from two independent binomial distributions with estimated success probability p1 = 119/11037 and p2 = 98/11034 estimated 1000 times

## Slide 26: Estimating bootstrap confidence intervals in regression
We suppose a linear model: Y = bX +
Perform linear regression and find best
Compute residuals )observed-)predicted at each of N data points
Resample residuals with replacement and obtain M sets of resampling residuals
For each of M set compute bestX+*
Treat the bootstrap data set as an independent experiment and fit the model to calculate new estimates of model parameters best*
For each parameter, calculate standard estimation. This is the standard error for that parameter
Calculate 95% bootstrap confidence intervals.

## Slide 27: Bootstrap for time series
are identically distributed but not independent or they belong to time series
Standard bootstrap does not work
Approaches
  Moving-block bootstrap
  Stationary autoregressive bootstrap
Notes: From presentation: Model Fitting, Bootstrap, & Model Selection by G. Jogesh Babu

## Slide 28: Moving-block bootstrap
Break time series into little blocks.
Resample the blocks, not individual points – kind of “random
shuffling”, with replacement.
Within blocks, structure is preserved.
Works if structure between blocks is (quasi) i.i.d.
Determine the parameter of interest for each block
Form the empirical distribution of the parameters and find the percentile confidence intervals
0
30
Notes: From presentation: Model Fitting, Bootstrap, & Model Selection by G. Jogesh Babu

## Slide 29: Confidence intervals for estimated breathing rate from the radar signal

## Slide 30: Confidence interval for estimating breathing rate from the radar signal, cont.
We are using bootstrapping method in order to find a confidence interval for each estimation method.
  Every 3 seconds the last 30 seconds are considered.
  100 random 15 seconds are chosen and one estimation is given for each segment.
  Mean and variance of estimations is calculated
  Mean of estimation error is calculated
0
30
3
33

## Slide 31: Confidence interval for estimating breathing rate from the radar signal, cont.
Block bootstrap
Breathing rate Estimation
Confidence intervals and bias estimation
95% confidence interval ,]
Error =

## Slide 32: Experimental data: Stationary Subject sitting in front of the radar

## Slide 33: Bootstrapping Stationary AR process
The stationary AR(P) model can be parametrically bootstraped
Assume
Usual assumptions, including stationarity
Can use a parametric bootstrap by estimating the residuals
Algorithm (Stationary Autoregressive Bootstrap)
Estimate the AR(P) and the residuals for
Recenter the residuals so that they have mean 0
Draw uniform from and set ,
Recursively simulate using drawn using an i.i.d. bootstrap
K. Sheppard, “The Bootstrap,” Course: The Econometrics of Predictability, University of Oxford, April 30, 2014
Notes: https://www.kevinsheppard.com/images/6/64/AFE_Week_1_handout.pdf

## Slide 34: Monte Carlo methods
Use
  Solving integrals
  Propagating uncertainties
  Sequential Monte Carlo methods for parameter estimation
Solution
Problem
Estimate
posterior
Difficult to
draw samples
Integrals are
not tractable
Monte Carlo
Sampling
Importance
Sampling

## Slide 35: Evaluating integrals using Monte Carlo methods
Example: Estimate the variance of a zero mean Gaussian process
Monte Carlo approach:
Simulate M random variables from a Gaussian distribution
Compute the average

## Slide 36: Importance sampling
Classical Monte Carlo integration – Difficult to draw samples from the desired distribution
Importance sampling solution:
  Draw samples from another (proposal) distribution
  Weight them according to how they fit the original distribution
Free to choose the proposal density
Important:
  It should be easy to sample from the proposal density
  Proposal density should resemble the original density as closely as possible

## Slide 37: Importance sampling
Evaluation of integrals
Monte Carlo approach:
Simulate M random variables from proposal density (x)
Compute the average